SADC SECRETARIAT RESPONSES TO REQUESTS FOR CLARIFICATIONS

REFERENCE NUMBER: SADC/3/5/1/49

REQUEST FOR SERVICES TITLE: PROPOSED SADC STANDBY FORCE REGIONAL LOGISTICS DEPOT AT RASESA, BOTSWANA, TO ATTAIN INITIAL OEPRATING CAPABILITY,

DATE OF ISSUE OF RESPONSES: 12 August 2022

| Question Nr | Question from the bidders | SADC Secretariat Response |
| --- | --- | --- |
| 1 | Tender drawings: May you please provide us with the Floor Plan Layout Drawings for all the Structures as they are not included in the list provided to us. | For security reasons, we cannot issue the Floor Plan Layout Drawings to the bidders. PDF copies of all drawings referred to in the work descriptions in the Bills of Quantities have been issued to the bidders. Therefore, we believe that the bidders have adequate information to price the items contained in the Bills of Quantities. |
| 2 | Bill of Quantities and the Drawings for Electrical Works: We need single Line drawing/information on the following DBs: a. DB-FP, Bill No. 7, page 179 b. DB-Substation, Bill No. 17, page 214 c. DB-GH-2, Bill No. 18, page 216 | Please find attached Drawing No. SADC/ELEC/4024C with the requested DBs. |
| 3 | Bill of Quantities and the Drawings for Electrical Works: Bill No. 5 - Vehicle Maintenance, page 172. The BOQ states DB-HPOST and the drawing drawings pertaining to it. Kindly clarify. | The DBs in Vehicle Maintenance should be DB VM-G2 and DB VM-F2 is shown in the one- line drawing SADC/ELEC/4024C. |
| 4 | Bill of Quantities and the Drawings for Electrical Works: Bill No. 9- Kitchen & Dining, page 186. Drawing states 2 DB as DB-Kitchen and DB-Kitchen the BOQ states it as DB-Armoury. Kindly clarify. | The Kitchen DBs should have been labelled DB KITCHEN & DB KITCHEN AC. |
| 5 | Bill of Quantities and the Drawings for Electrical Works: Bill No. 13, 200-men Accommodation, page 200. The drawing did not specify the DB and BOQ states 4 different DB names under the 200-men accommodation section of the BOQ. Please clarify. | Bill No. 13 (200 Men Accommodation Hangars) should not have been included in the main bill. It is also not appearing in the BOQ summary. Bidders should not price the items which are in Bill No. 13 because 200 Men Accommodation Hangars are not in the scope of work. |
| 6 | Bill of Quantities and the Drawings for Electrical Works: Bill No. 14, 50-men accommodation. The BOQ has 2 DBs under it but there is only 1 drawing clarify. | Bill No. 14 (50 Men Accommodation Hangars) should have been labelled 100 Men Accommodation Hangars. Therefore, the first page of the bill should read ‘100 Men Accommodation Hangars’. The DBs shown in the bill and the drawings are correct. |
| 7 | Provide Line diagram for 40024C - DB RI One Line Drawing - Layout 1. | The below link can be used to download the requested Line Diagram , namely : 40024C - DB RI One Line Drawing - Layout 1. The link expires within seven days. https://we.tl/t-L9i6UCPMvc |

End of Responses

Southern African Development Community

CBD Plot 54385

Phone: (267) 395 1863 | Fax: (267) 397-2 848